# Physical Controls

## A.7.1 — physical security parameters

Description: Security perimeters shall be defined and used to protect areas that contain information and other associated assets.

Deployment Points

Identify and map out all areas containing sensitive information and associated assets to establish security perimeters.

Implement physical barriers (e.g., fences, access control systems) to secure these perimeters.

Regularly review and update security measures to adapt to changes in the organization or threats.

Train personnel on the importance of physical security and their role in maintaining it.

Define and document processes and requirements to address the control: Security perimeters shall be defined and used to protect areas that contain information and other associated assets.

## A.7.5 — protecting against physical and environmental threats

Description: Protection against physical and environmental threats, such as natural disasters and other intentional or unintentional physical threats to infrastructure shall be designed and implemented.

Deployment Points

Define and document processes and requirements to address the control: Protection against physical and environmental threats, such as natural disasters and other intentional or unintentional physical threats to infrastructure shall be designed and implemented.

Assign appropriate responsibilities and implement the required measures for protecting against physical and environmental threats.

Establish and maintain records or evidence demonstrating compliance with protecting against physical and environmental threats.

Regularly review and monitor the implementation of protecting against physical and environmental threats and address identified gaps.

Provide appropriate awareness, guidance, or training to relevant personnel for protecting against physical and environmental threats.

## A.7.7 — clear desk and clear screen

Description: Clear desk rules for papers and removable storage media and clear screen rules for information processing facilities shall be defined and appropriately enforced.

Deployment Points

Define clear desk policies that specify what items must be removed from desks at the end of the day, including papers and removable storage media.

Establish clear screen policies that require users to lock their screens when leaving their workstations unattended.

Communicate these policies to all employees and provide training on their importance for information security.

Implement regular audits to ensure compliance with clear desk and clear screen rules, and take corrective actions as necessary.

Define and document processes and requirements to address the control: Clear desk rules for papers and removable storage media and clear screen rules for information processing facilities shall be defined and appropriately enforced.

## A.7.10 — storage media

Description: Storage media shall be managed through their life cycle of acquisition, use, transportation and disposal in accordance with the organization’s classification scheme and handling requirements.

Deployment Points

Develop a lifecycle management policy for storage media that includes acquisition, usage, transportation, and disposal procedures.

Classify storage media according to the organization’s classification scheme to determine handling requirements.

Train staff on the proper handling and transportation of storage media to prevent unauthorized access or data loss.

Ensure secure disposal methods are in place for storage media that is no longer needed, including data wiping or physical destruction.

Define and document processes and requirements to address the control: Storage media shall be managed through their life cycle of acquisition, use, transportation and disposal in accordance with the organization’s classification scheme and handling requirements.

## A.7.11 — supporting utilities

Description: Information processing facilities shall be protected from power failures and other disruptions caused by failures in supporting utilities.

Deployment Points

Install uninterruptible power supplies (UPS) to provide backup power during outages and protect against power surges.

Regularly test and maintain UPS systems to ensure they are operational when needed.

Implement monitoring systems to detect and alert on failures in supporting utilities, such as power, water, and HVAC systems.

Develop contingency plans for responding to utility failures, including procedures for data backup and recovery.

Define and document processes and requirements to address the control: Information processing facilities shall be protected from power failures and other disruptions caused by failures in supporting utilities.

## A.7.12 — cabling security

Description: Cables carrying power, data or supporting information services shall be protected from interception, interference or damage.

Deployment Points

Route cables in secure areas to minimize exposure to unauthorized access and potential damage.

Use cable management systems to organize and protect cables from physical damage.

Implement monitoring to detect any unauthorized access or tampering with cabling infrastructure.

Regularly inspect cabling for signs of wear or damage and replace as necessary.

Define and document processes and requirements to address the control: Cables carrying power, data or supporting information services shall be protected from interception, interference or damage.

## A.7.13 — equipment maintenance

Description: Equipment shall be maintained correctly to ensure availability, integrity and confidentiality of information.

Deployment Points

Establish a maintenance schedule for all equipment to ensure regular servicing and updates.

Document maintenance activities and keep records of any repairs or upgrades performed.

Train staff on the importance of equipment maintenance for protecting information integrity and availability.

Implement a monitoring system to track equipment performance and identify potential issues before they lead to failures.

Define and document processes and requirements to address the control: Equipment shall be maintained correctly to ensure availability, integrity and confidentiality of information.

## A.7.14 — secure disposal or re-use of equipment

Description: Items of equipment containing storage media shall be verified to ensure that any sensitive data and licensed software has been removed or securely overwritten prior to disposal or re-use.

Deployment Points

Develop a secure disposal policy that outlines the steps for verifying the removal of sensitive data from equipment.

Use certified data wiping software to securely overwrite data on storage media before disposal or re-use.

Maintain records of the disposal process, including verification of data removal and methods used.

Train staff on secure disposal procedures to ensure compliance and understanding of the risks associated with improper disposal.

Define and document processes and requirements to address the control: Items of equipment containing storage media shall be verified to ensure that any sensitive data and licensed software has been removed or securely overwritten prior to disposal or re-use.

## A.7.2 — physical entry access points

Description: Secure areas shall be protected by appropriate entry controls.

Deployment Points

Define and document processes and requirements to address the control: Secure areas shall be protected by appropriate entry controls.

Assign appropriate responsibilities and implement the required measures for physical entry access points.

Establish and maintain records or evidence demonstrating compliance with physical entry access points.

Regularly review and monitor the implementation of physical entry access points and address identified gaps.

Provide appropriate awareness, guidance, or training to relevant personnel for physical entry access points.

## A.7.3 — securing offices, rooms and facilities

Description: Physical security for offices, rooms and facilities shall be designed and implemented.

Deployment Points

Define and document processes and requirements to address the control: Physical security for offices, rooms and facilities shall be designed and implemented.

Assign appropriate responsibilities and implement the required measures for securing offices, rooms and facilities.

Establish and maintain records or evidence demonstrating compliance with securing offices, rooms and facilities.

Regularly review and monitor the implementation of securing offices, rooms and facilities and address identified gaps.

Provide appropriate awareness, guidance, or training to relevant personnel for securing offices, rooms and facilities.

## A.7.4 — physical security monitoring

Description: Premises shall be continuously monitored for unauthorized physical access.

Deployment Points

Define and document processes and requirements to address the control: Premises shall be continuously monitored for unauthorized physical access.

Assign appropriate responsibilities and implement the required measures for physical security monitoring.

Establish and maintain records or evidence demonstrating compliance with physical security monitoring.

Regularly review and monitor the implementation of physical security monitoring and address identified gaps.

Provide appropriate awareness, guidance, or training to relevant personnel for physical security monitoring.

## A.7.6 — working in secure areas

Description: Security measures for working in secure areas shall be designed and implemented.

Deployment Points

Define and document processes and requirements to address the control: Security measures for working in secure areas shall be designed and implemented.

Assign appropriate responsibilities and implement the required measures for working in secure areas.

Establish and maintain records or evidence demonstrating compliance with working in secure areas.

Regularly review and monitor the implementation of working in secure areas and address identified gaps.

Provide appropriate awareness, guidance, or training to relevant personnel for working in secure areas.

## A.7.8 — equipment siting and protection

Description: Equipment shall be sited securely and protected.

Deployment Points

Define and document processes and requirements to address the control: Equipment shall be sited securely and protected.

Assign appropriate responsibilities and implement the required measures for equipment siting and protection.

Establish and maintain records or evidence demonstrating compliance with equipment siting and protection.

Regularly review and monitor the implementation of equipment siting and protection and address identified gaps.

Provide appropriate awareness, guidance, or training to relevant personnel for equipment siting and protection.

## A.7.9 — security of assets off-premises

Description: Off-site assets shall be protected.

Deployment Points

Define and document processes and requirements to address the control: Off-site assets shall be protected.

Assign appropriate responsibilities and implement the required measures for security of assets off-premises.

Establish and maintain records or evidence demonstrating compliance with security of assets off-premises.

Regularly review and monitor the implementation of security of assets off-premises and address identified gaps.

Provide appropriate awareness, guidance, or training to relevant personnel for security of assets off-premises.