ISO/IEC 27001:2022

A.7 – Physical Controls Deployment Document

Policy & Procedure – Implementation Guidance per Control

## A.7.1  Physical security perimeters

| Objective | Define and use security perimeters to protect areas containing information and associated assets. |
| --- | --- |
| Implementation Steps | - Identify areas requiring physical protection based on asset sensitivity. - Establish physical barriers (walls, fences, secured doors) defining perimeters. - Document perimeter boundaries in site security plans. - Review perimeter adequacy periodically or upon facility change. |
| Responsibility | Facilities / Physical Security Manager |

## A.7.2  Physical entry

| Objective | Protect secure areas through appropriate entry controls and access points. |
| --- | --- |
| Implementation Steps | - Implement access control mechanisms (badge readers, biometrics, visitor logs). - Restrict entry to authorized personnel only, based on role. - Escort and log visitors in secure areas. - Review entry access rights and logs periodically. |
| Responsibility | Facilities / Physical Security Manager |

## A.7.3  Securing offices, rooms and facilities

| Objective | Design and implement physical security for offices, rooms and facilities. |
| --- | --- |
| Implementation Steps | - Assess physical security requirements for each facility type. - Implement locks, alarms and access restrictions as appropriate. - Position sensitive facilities away from public access where possible. - Conduct periodic physical security inspections. |
| Responsibility | Facilities Management |

## A.7.4  Physical security monitoring

| Objective | Continuously monitor premises for unauthorized physical access. |
| --- | --- |
| Implementation Steps | - Install CCTV/surveillance systems covering critical areas. - Configure intrusion detection/alarm systems. - Define monitoring responsibilities and escalation procedures. - Retain surveillance footage per policy and review incidents. |
| Responsibility | Physical Security Team |

## A.7.5  Protecting against physical and environmental threats

| Objective | Design and implement protection against natural disasters and other physical/environmental threats. |
| --- | --- |
| Implementation Steps | - Conduct a site risk assessment covering fire, flood, power and environmental hazards. - Implement mitigating controls (fire suppression, flood barriers, surge protection). - Include environmental threat scenarios in business continuity planning. - Test and maintain protective systems regularly. |
| Responsibility | Facilities / Business Continuity Manager |

## A.7.6  Working in secure areas

| Objective | Design and implement security measures for personnel working in secure areas. |
| --- | --- |
| Implementation Steps | - Define rules for working in secure areas (e.g., data centers, server rooms). - Restrict unsupervised access; require dual control where necessary. - Prohibit unauthorized recording devices in secure areas. - Train personnel working in secure areas on applicable procedures. |
| Responsibility | Facilities / IT Operations |

## A.7.7  Clear desk and clear screen

| Objective | Define and enforce clear desk and clear screen rules to protect information from unauthorized viewing/access. |
| --- | --- |
| Implementation Steps | - Develop a Clear Desk and Clear Screen Policy. - Configure automatic screen locks after periods of inactivity. - Provide lockable storage for sensitive documents and media. - Conduct periodic spot checks for compliance. |
| Responsibility | CISO / Facilities |

## A.7.8  Equipment siting and protection

| Objective | Site and protect equipment to reduce risks from environmental threats and unauthorized access. |
| --- | --- |
| Implementation Steps | - Position equipment away from environmental hazards (heat, moisture, dust). - Restrict physical access to critical equipment. - Implement environmental controls (temperature, humidity monitoring) where needed. - Review equipment siting during facility changes. |
| Responsibility | IT Operations / Facilities |

## A.7.9  Security of assets off-premises

| Objective | Protect assets used or stored outside organizational premises. |
| --- | --- |
| Implementation Steps | - Develop a policy governing off-site use of organizational assets. - Require authorization prior to asset removal from premises. - Implement tracking/encryption for portable devices used off-site. - Maintain a register of assets deployed off-premises. |
| Responsibility | IT Asset Management |

## A.7.10  Storage media

| Objective | Manage storage media through its lifecycle in line with the classification scheme and handling requirements. |
| --- | --- |
| Implementation Steps | - Define handling procedures for storage media by classification level. - Implement secure storage, transport and disposal controls for media. - Maintain an inventory/log of removable media in use. - Restrict use of unauthorized removable media. |
| Responsibility | IT Security / Asset Management |

## A.7.11  Supporting utilities

| Objective | Protect information processing facilities from power failures and other utility-related disruptions. |
| --- | --- |
| Implementation Steps | - Assess dependency on supporting utilities (power, cooling, telecom). - Implement redundancy (UPS, generators, dual power feeds) for critical facilities. - Test backup utility systems regularly. - Monitor utility performance and maintain service agreements. |
| Responsibility | Facilities / IT Operations |

## A.7.12  Cabling security

| Objective | Protect power, data and information service cabling from interception, interference or damage. |
| --- | --- |
| Implementation Steps | - Route critical cabling through secured/protected pathways. - Separate power and data cabling to reduce interference. - Label and document cabling infrastructure. - Restrict physical access to cabling closets and distribution points. |
| Responsibility | IT Infrastructure Team |

## A.7.13  Equipment maintenance

| Objective | Maintain equipment correctly to ensure continued availability, integrity and confidentiality of information. |
| --- | --- |
| Implementation Steps | - Establish a preventive maintenance schedule per manufacturer guidelines. - Use authorized personnel/vendors for maintenance activities. - Log maintenance activities and equipment issues. - Verify security controls remain intact after maintenance. |
| Responsibility | IT Operations / Facilities |

## A.7.14  Secure disposal or re-use of equipment

| Objective | Verify sensitive data and licensed software are securely removed prior to equipment disposal or re-use. |
| --- | --- |
| Implementation Steps | - Develop a secure disposal/data-wiping procedure (degaussing, secure erase, physical destruction). - Verify data removal before equipment leaves organizational control. - Obtain vendor certification for third-party disposal services. - Maintain disposal records for audit purposes. |
| Responsibility | IT Asset Management / IT Security |